DUE IN 2018

Town and Church Name:

GCFA Number:

Year:

Date of Inspection:

2018 Safety & Accessibility Inspection

INSTRUCTIONS (PLEASE READ BEFORE BEGINNING THIS FORM!):

- Not every church will complete every section. For example, if your church does not have a playground, you will skip that section.

- This form must be filled out in its entirety (for all applicable areas) in the first year of the new quadrennium (2017) and in the odd year thereafter (2019).

- This form does not need to be completed in 2018.

- In 2018, only the Action Plan (which is a separate form and is explained in the following bullet point) needs to be completed.

- Any items for which the “No/Needs Improvement” box is checked in the Safety & Accessibility Inspection Form must be transferred to the Action Plan (a separate form included with all other Charge Conference forms). Please follow the instructions on the Action Plan accordingly.

- Every church should keep a printed copy of the Safety & Accessibility Inspection Form and the Action Plan for their records.

- Copies of the Safety & Accessibility Inspection Form and the Action Plan must be submitted to the District Office in 2017 and 2019.

- Copies of the Action Plan must be submitted to the District Office in 2018 and 2020.

- Please follow the instructions of your District Office for submission of documents.

| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| --- | --- | --- | --- |
| Building and Grounds |  |  |  |
| Are roofs inspected annually? |  |  |  |
| Are stained glass windows covered with a shatterproof material? |  |  |  |
| Is outside lighting working properly? |  |  |  |
| Are fences in good repair? |  |  |  |
| Are parking lot signs in good condition? |  |  |  |
| Are parking lot signs easily seen? |  |  |  |
| Are there handicapped parking spaces? |  |  |  |
| Are handicapped parking spaces 1.5 times the usual width? |  |  |  |
| Are driveway and parking lot barriers equipped with reflectors for visibility at night? |  |  |  |
| Is there a ramp or level entrance to the church door? |  |  |  |
| Are all ramps equipped with hand rails? |  |  |  |
| Are there signs directing people to the ramp or level entrance? |  |  |  |
| Is the parking lot adequately lit? |  |  |  |
| Is the parking lot patrolled at night? |  |  |  |
| Are downspouts directed away from walking surfaces so as not to create slick conditions? |  |  |  |
| Are areas around the church free of weeds and brush which could fuel a fire? |  |  |  |
| Are the areas in front of emergency exit doors clear of debris? |  |  |  |
| Are exterior doors easy to open (door bars rather than knobs)? |  |  |  |
| Are exterior doors wide enough for wheelchairs? |  |  |  |

| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| --- | --- | --- | --- |
| Cold Weather Concerns |  |  |  |
| Is there a snow removal contract or other procedure in place? |  |  |  |
| Are ice and other slick spots treated as soon as possible? |  |  |  |
| Is there a plan to remove heavy snow from roofs to avoid collapse? |  |  |  |
| Elevators or Chair Lifts |  |  |  |
| Has the elevator or chair lift been inspected in the past 12 months? |  |  |  |
| Is paperwork from the inspection kept on file? |  |  |  |
| Are the buttons outside of and in the elevator accessible to persons in wheel chairs? |  |  |  |
| Are Braille signs used and placed 4.5 to 5.5 feet from the floor? |  |  |  |
| Electrical System |  |  |  |
| Is the electrical system checked annually by a certified electrician? |  |  |  |
| Are electric outlets in infants’ and children’s areas covered by approved safety devices to prevent children from inserting objects into the outlets? |  |  |  |
| Are extension cords used only in temporary situations? |  |  |  |
| Do extension cords being used have a grounding conductor? |  |  |  |
| Are all appliances grounded? |  |  |  |
| Are cords replaced as soon as they show signs of being frayed, cracked, or dried out? |  |  |  |
| Are electrical enclosures, such as switches, receptacles, and junction boxes, provided with tight-fitting covers or plates? |  |  |  |
| Is the proper-sized fuse used for each circuit in the fuse box? |  |  |  |
| Are circuits identified in the fuse box/circuit box? |  |  |  |

| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| --- | --- | --- | --- |
| Electrical System (cont’d) |  |  |  |
| Are all unused openings in electrical enclosures and fittings closed with appropriate covers, plugs or plates? |  |  |  |
| Is all special equipment, such as air conditioners and organs, properly wired and fused according to manufacturer’s specifications? |  |  |  |
| Is a written Lockout/Tagout program available for working on electrical equipment to ensure that it is in safely de-energized state prior to work being performed? |  |  |  |
| Are power strips used appropriately to increase the number of receptacles in a wall outlet? (T-type multi-adapters are not acceptable). |  |  |  |
| First Aid |  |  |  |
| Are there adequate first aid kits available in classrooms/meeting rooms? |  |  |  |
| Are records kept of all first aid provided to members, volunteers, and guests? |  |  |  |
| Are emergency phone numbers posted? |  |  |  |
| Is at least one employee qualified to administer CPR? |  |  |  |
| Is there a defibrillator easily accessible, with instructions on its use? |  |  |  |
| Are first aid providers protected against blood-borne pathogens? |  |  |  |
| Is there an eye-washing station? |  |  |  |
| Are poisonous substances stored in areas that are not accessible to children? |  |  |  |

| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| --- | --- | --- | --- |
| Kitchen |  |  |  |
| Are waste containers emptied immediately when filled? |  |  |  |
| Are proper waste containers used for waste food accumulation? |  |  |  |
| Is cooking equipment installed on a noncombustible floor surface with adequate clearance from combustible materials? |  |  |  |
| Does the frequency of cooking or the type of cooking suggest the installation of an automatic fire suppression system on the hood and duct system? |  |  |  |
| Are kitchen gas range burners maintained so that they immediately ignite when the burners are turned on? |  |  |  |
| Are refrigerator motors, cooling coils, and compressors free of combustible materials and cleaned regularly? |  |  |  |
| Are hot pads and mitts readily available for handling pots and pans? |  |  |  |
| Is the kitchen area equipped with heat detectors? |  |  |  |
| Is there an easy exit from the kitchen to the outside of the building? |  |  |  |
| Is thermostatic equipment used on deep fryers and other cooking equipment in good working order? |  |  |  |
| Is the kitchen area, including appliances, walls, floors, etc., free of grease accumulation? |  |  |  |
| Are the overhead fluorescent and incandescent lights in food preparation areas protected to prevent the possibility of glass particles contaminating food should a light explode or break? |  |  |  |

| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| --- | --- | --- | --- |
| Playground |  |  |  |
| Do surfaces around playground equipment have at least 12 inches of wood chips, mulch, sand or pea gravel, or are mats made of safety-tested rubber or rubber-like materials? |  |  |  |
| Are play structures that are more than 30 inches high spaced at least 9 feet apart? |  |  |  |
| Is all equipment securely anchored? |  |  |  |
| Does protective surfacing extend at least 6 feet in all directions from play equipment? For swings, surfacing should extend twice the height of the suspending bar in back and front. |  |  |  |
| Are there sharp points or edges in the equipment? |  |  |  |
| Are there tripping hazards such as exposed concrete footings, rocks or tree stumps? |  |  |  |
| Do all elevated surfaces such as platforms and ramps, have guardrails to prevent falls? |  |  |  |
| Are playgrounds checked regularly to see that equipment and surfacing are in good condition? |  |  |  |
| Are children on playgrounds supervised by at least two adults to ensure that the children are safe? |  |  |  |
| Procedures for Volunteers and Employees |  |  |  |
| Are all applicants, employee and volunteer, asked to complete an employment application? |  |  |  |
| Do you make it a rule never to accept volunteers who have not been church members for at least six months? |  |  |  |
| Do you have an associate participate in interviews? |  |  |  |

| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| --- | --- | --- | --- |
| Procedures for Volunteers and Employees (cont’d) |  |  |  |
| Do you contact references and employers listed on the application? |  |  |  |
| Do you routinely conduct background investigations? |  |  |  |
| When you offer an applicant a position, do you ask for a complete set of fingerprints for your file? |  |  |  |
| Do you have a written standard of conduct for adult/child relationships establishing parameters of conduct and contact during and after normal activity hours? |  |  |  |
| Are there always at least two adults in a teaching or recreational situation involving children? |  |  |  |
| Are parents fully informed about the activities in which their children will be involved? |  |  |  |
| Do employees and volunteers have guidelines to follow when dealing with the indigent or homeless? |  |  |  |
| Do selected personnel have emergency or first-aid training? |  |  |  |
| Do persons with disabilities participate in and provide leadership for Church Council and other committees/boards? |  |  |  |
| Does the church take seriously the time of day and accessibility when planning activities? |  |  |  |
| Does the church communicate effectively to various groups of people, including those with disabilities (taking into consideration style of communication, presentation of materials, etc.)? |  |  |  |
| Do persons with disabilities participate in worship and church school as greeters, ushers, liturgists, teachers, speakers, and/or group leaders? |  |  |  |
| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| Public Areas |  |  |  |
| Are aisle ways maintained when portable chairs and tables are set in assembly areas? |  |  |  |
| Are hallways and aisle ways smooth, level, free of stored items, and well lit? |  |  |  |
| Are rugs and carpeting secured at their edges and free of holes or frays? |  |  |  |
| Is general housekeeping adequate? |  |  |  |
| Are nursery and preschool areas situated so that infants, toddlers, and small children can be evacuated quickly? |  |  |  |
| Are “Caution - wet floor” signs used when maintaining floors or after cleaning up a spill? |  |  |  |
| Are “Walk-off” mats used at all entrances to collect grit, water, ice and snow? |  |  |  |
| Are there directional signs, or is there a church directory, so people can find their way in the building? |  |  |  |
| Are there handrails in the church halls? |  |  |  |
| Are Braille signs and textured doorknobs provided at appropriate places? |  |  |  |
| Are water fountains/phones/bulletin boards accessible to persons in wheelchairs? |  |  |  |
| Are fire extinguishers, water fountains, etc. recessed so as not to create obstacles? |  |  |  |
| Are open stairs fitted with a means of warning the blind (e.g., slightly raised abrasive strips)? |  |  |  |
| Restrooms |  |  |  |
| Are restrooms wheelchair accessible? |  |  |  |
| Do restrooms (especially toilet areas) have handrails? |  |  |  |
| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| Restrooms (cont’d) |  |  |  |
| Are toilet stalls large enough to accommodate a wheelchair? |  |  |  |
| Are sinks wheelchair accessible? |  |  |  |
| Are faucet controls easy to operate, requiring no difficult finger or hand action? |  |  |  |
| Are mirrors, soap, and towels accessible to persons in wheelchairs? |  |  |  |
| Are restrooms accessible to the church sanctuary? |  |  |  |
| Are restrooms accessible to classrooms and meeting rooms? |  |  |  |
| Sanctuary |  |  |  |
| Are worship services and other special programs recorded and provided for the use of homebound and other members? |  |  |  |
| Can the sanctuary accommodate wheelchairs? |  |  |  |
| Are several places for wheelchairs provided so that wheelchair users have a choice of seating? |  |  |  |
| Is there adequate lighting on speaker’s face to facilitate speech/lip reading? |  |  |  |
| Is there adequate lighting for reading in all pews? |  |  |  |
| Are large print Bibles available? |  |  |  |
| Are large print Hymnals or Song Books available? |  |  |  |
| Are large print worship materials (bulletins, etc.) available? |  |  |  |
| Is the sound system of good quality and without dead spots? |  |  |  |
| Is there a sound amplification system for the hard of hearing? |  |  |  |
| Are individual hearing devices for the hearing impaired available? |  |  |  |
| Is sign language provided during worship services? |  |  |  |
| Are pews cushioned for added comfort |  |  |  |
| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| Sanctuary |  |  |  |
| Are guide dogs permitted in the sanctuary? |  |  |  |
| Is there a temperature controlled heating and cooling system? |  |  |  |
| Is the altar and chancel area open and without steps for persons receiving the sacrament of holy communion? |  |  |  |
| Is the altar and chancel area accessible for all leadership during the worship service? |  |  |  |
| Security |  |  |  |
| Are buildings kept locked when unoccupied? |  |  |  |
| Is your building protected by a burglar alarm? |  |  |  |
| Is a detailed, written, photographic or video inventory of building contents and valuables maintained? |  |  |  |
| Are security alarms inspected regularly? |  |  |  |
| Security (cont’d) |  |  |  |
| Are sacred objects, vessels, and other valuables kept in a safe, vault, or quality locked cabinet when not in use? |  |  |  |
| Are keys or access cards given out in limited numbers and marked 'Do Not Copy?" |  |  |  |
| Are grade-level and basement windows protected with window locks, wire mesh, or bars? |  |  |  |
| Are exterior lights used to illuminate areas around the building as necessary? |  |  |  |
| Are basement windows free of shrubbery or other obstructions? |  |  |  |
| Stairways and Exitways |  |  |  |
| Are exits marked? |  |  |  |
| Are there two exits, remote from each other, for each level of the building? |  |  |  |
| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| Stairways and Exitways (cont’d) |  |  |  |
| Are all exit ways unlocked to outward egress? |  |  |  |
| Are exit doors free of wedging? (doors should not be wedged open) |  |  |  |
| Are fire escapes well-maintained and in good condition? |  |  |  |
| Are all exits marked with a lighted exit sign also powered by an emergency power source? |  |  |  |
| Do all emergency exits open in an outward direction? |  |  |  |
| Are all emergency exits kept unlocked and free of obstructions when buildings are occupied? |  |  |  |
| Are exit doors equipped with “panic” hardware? |  |  |  |
| Is emergency lighting supplied in all congregational use areas? |  |  |  |
| Are steps on stairs and stairways designed or provided with a surface that is slip-resistant? |  |  |  |
| Are stairway handrails located between 30 and 34 inches above the leading edge of the stair treads? |  |  |  |
| Are stairway handrails capable of withstanding a load of 200 pounds applied in any direction? |  |  |  |
| Are standard stair rails or handrails on all stairways with four or more steps? |  |  |  |
| Transportation and Vehicle Safety |  |  |  |
| Does the church provide transportation for worship and church-related activities? |  |  |  |
| Does the church have a van capable of transporting persons in wheelchairs? |  |  |  |
| Does the church have arrangements in place to help transport persons with disabilities? |  |  |  |
| Is the use of owned vehicles restricted to official business or activities? |  |  |  |

| Inspection Area | Yes (Satisfactory) | No (Needs Improvement) | Not Applicable |
| --- | --- | --- | --- |
| Transportation and Vehicle Safety (cont’d) |  |  |  |
| Do drivers perform a pre-trip and posttrip inspection documenting vehicle condition, any mechanical problems, and odometer readings? |  |  |  |
| Are vehicles routinely inspected by a certified mechanic? |  |  |  |
| Are drivers instructed that under no circumstances the keys should be kept in any vehicle when left unattended? |  |  |  |
| Are the driver and all passengers instructed to use seat belts? |  |  |  |
| Are periodic bus evacuation drills conducted? |  |  |  |
| Are all staff members, employees and volunteers, who use their own vehicles for church or school business informed that their own liability and physical damage coverage is primary coverage? |  |  |  |
| Do individuals who use their own personal vehicles for church business provide the Loss Control Manager with proof of insurance with adequate limits? |  |  |  |
| Are there established guidelines for minimum age limits for those using their vehicle for church business? (recommended age is at least 21) |  |  |  |
| Classrooms, Counseling Rooms, and Activity Rooms |  |  |  |
| Do the doors to these rooms have windows that allow full view of the room from the hallway? |  |  |  |
| If no, do they have half doors? |  |  |  |
| If “No” is the answer to both of the above questions, please note that doors should be kept open. |  |  |  |

Rev. 7/13/17